Instrumentation System Design (QP1)

Sem-VII (CBCS, Rev-2016, ETRX)

|  |  |
| --- | --- |
| Q.1 | The purpose of valve packing is |
| Option A: | Help reduce cavitation in the valve trim |
| Option B: | Increase stiction |
| Option C: | Cushion the valve against harm during shipment |
| Option D: | Seal process fluid from escaping past the stem |
|  |  |
| Q.2 | **Cavitation in a control valve is caused by:** |
| Option A: | process noise |
| Option B: | vibration in the piping |
| Option C: | the Von Karman effect |
| Option D: | pressure recovery |
|  |  |
| Q.3 | A one-way valve that lets air into the reservoir of a compressor, but doesn’t let it out, is a |
| Option A: | Check valve |
| Option B: | Receiver valve |
| Option C: | Control valve |
| Option D: | Three-way valve |
|  |  |
| Q.4 | Heavy lifting work is often accomplished by shifting fluids in big machines. The power system of such machines can be described as |
| Option A: | Reciprocating |
| Option B: | Pneumatic |
| Option C: | Hydraulic |
| Option D: | Hybrid |
|  |  |
| Q.5 | The \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ converts the compressed air energy into mechanical energy in the form of linear movement in one direction only. |
| Option A: | Piston cylinders |
| Option B: | Double acting cylinders |
| Option C: | Single acting cylinders |
| Option D: | Hydraulic pumps |
|  |  |
| Q.6 | The lubricator in a pneumatic circuit is the |
| Option A: | First element in line |
| Option B: | Second element in line |
| Option C: | Last element in line |
| Option D: | Third element in line |
|  |  |
| Q.7 | This transmitter is simple to setup, lower cost, commonly feature hazardous area approvals, and do not require local power |
| Option A: | 2 wire |
| Option B: | 3 wire |
| Option C: | 4 wire |
| Option D: | 1 wire |
|  |  |
| Q.8 | Isolation is not present in following transmitter |
| Option A: | 1 wire |
| Option B: | 3 wire |
| Option C: | 2 wire |
| Option D: | 4 wire |
|  |  |
| Q.9 | Flapper nozzle is designed to operate in its which region of characteristics |
| Option A: | Central region |
| Option B: | Saturation region |
| Option C: | Lower region |
| Option D: | Upper region |
|  |  |
| Q.10 | Output of a current to pressure converter is |
| Option A: | 3 to 15 PSI pressure |
| Option B: | 3 to 10 PSI pressure |
| Option C: | 3 to 25 PSI pressure |
| Option D: | 2 to 15 PSI pressure |
|  |  |
| Q.11 | In a PID controller, offset has increased, integral time constant has to be -------- so as to reduce offset. |
| Option A: | Increased |
| Option B: | Reduced |
| Option C: | Reduced to zero |
| Option D: | Increased to one |
|  |  |
| Q.12 | Which of the following system gives excellent transient and steady state response |
| Option A: | P+I |
| Option B: | P |
| Option C: | P+I+D |
| Option D: | P+D |
|  |  |
| Q.13 | Input and output modules in PLC are of ------ type |
| Option A: | 2 |
| Option B: | 3 |
| Option C: | 1 |
| Option D: | 4 |
|  |  |
| Q.14 | PLC needs --- power to work |
| Option A: | 24V DC |
| Option B: | 12V DC |
| Option C: | 50V DC |
| Option D: | 10V DC |
|  |  |
| Q.15 | Multichannel Analog Multiplexed System utilizes time --\_\_\_\_\_ |
| Option A: | using a transformer |
| Option B: | using a capacitor |
| Option C: | using a flip-flop |
| Option D: | using a mux |
|  |  |
| Q.16 | In a SCADA the central host computers server is called as |
| Option A: | Switch |
| Option B: | Master Terminal Units (MTUs) |
| Option C: | Junction Box |
| Option D: | Microcontroller |
|  |  |
| Q.17 | **The acronym DCS stands for** |
| Option A: | Delta Console Services |
| Option B: | Distributed Control System |
| Option C: | Direct Cascade Sequencing |
| Option D: | Differential Concentration Switch |
|  |  |
| Q.18 | What is the characteristic of a good control system |
| Option A: | Sensitive to parameter variation |
| Option B: | Insensitive to input commands |
| Option C: | Neither sensitive to parameter variation nor sensitive to input commands |
| Option D: | Insensitive to parameter variation nor sensitive to input commands |
|  |  |
| Q.19 | **This transmitter has microprocessor built inside** |
| Option A: | 2 wire |
| Option B: | 3 wire |
| Option C: | 4 wire |
| Option D: | Smart transmitter |
|  |  |
| Q.20 | A system that is portion of larger system is called ----- system |
| Option A: | Primary |
| Option B: | Partition |
| Option C: | Subsystem |
| Option D: | singular |
|  |  |
| Q.21 | A controller is basically a |
| Option A: | Sensor |
| Option B: | Comparator |
| Option C: | Amplifier |
| Option D: | Clipper |
|  |  |
| Q.22 | SCADA is a |
| Option A: | Process |
| Option B: | Software |
| Option C: | Hardware |
| Option D: | system |
|  |  |
| Q.23 | Which of the following is not the component of a SCADA system? |
| Option A: | Database server |
| Option B: | I/O system |
| Option C: | PLC controller |
| Option D: | Sparger controller |
|  |  |
| Q.24 | Butterfly valves are used for |
| Option A: | Low pressure applications |
| Option B: | High pressure applications |
| Option C: | Medium pressure applications |
| Option D: | Very high-pressure applications |
|  |  |
| Q.25 | This valve has a very simple design |
| Option A: | Ball |
| Option B: | Solenoid |
| Option C: | Check |
| Option D: | Butterfly |